8’

Sections 2, 3, 4

Sections 5 & 6

Sections 7 & 8

Typical Sections

Elevations of Typical Sections

Sandown Wireless, USA

P.O. Box 564

East Hampstead, NH 03826

Office: 603-425-9876

Direct E-mail: wa1hzk@usa.net

sales@criticaltowers.com

www.criticaltowers.com

To Install BX Anti Climb Panels

- Position one side of a panel into the edge between the leg and the braces.

- Bow the panel to allow the opposite side to slide between the leg and braces on the opposite side.

- Position the panel so the retainer tabs are 1 above and 1 below the center of each cross brace.

- Bend retainer tabs in at 90° and insert retainer pin in back of braces.

7’

Anti-Climb Panel

Retainer Rod